## Sheet1
Question | Answer
The pdf document states: All performance will be measured using the Company’s interval meter data. 1. Does this refer to the utility installed meter data? 2. Do we still need to supply this data via your [Piclo] dashboard in the settlement tab (like in previous programs) or not because National Grid already has access to this data? | 1) Yes, all sites must have a National Grid interval meter to participate. 2) No, National Grid collects interval data from our meter data management system to calculate performance. No interval data upload is required by a bidder.
If there are any additional clarifications - particularly around telemetry requirements, the process for verifying feeder eligibility via the System Data Portal, or expectations for the performance test - we would welcome any guidance to ensure our proposal is fully aligned with National Grid’s program requirements. | The Company reserves the right to conduct a 1 hour performance test each Summer. Whether or not a test event is needed will depend on the timing and frequency of standard event dispatches in a given year. On the "Introduction" tab of the System Data Portal, in the "FAQs" section there i a link to the System Data Portal User Guide, which can assist you with navigating the portal. Per Section 4.3 of the RFP, all participants must have National Grid interval metering installed to participate in the Programs.
The pdf document states: All performance will be measured using the Company’s interval meter data. 1. Does this refer to the utility installed meter data? 2. Do we still need to supply this data via your [Piclo] dashboard in the settlement tab (like in previous programs) or not because National Grid already has access to this data? | 1) Yes. 2) National Grid does not require participants to provide interval meter data. National Grid collects this data internally for M&V purposes.
• Are there specific project milestones to show when wanting to participate in the program? Are there particular project milestones that you’d like to see from a proposal? Milestones like environmental and zoning permits, interconnection status, and more. • Can an energy storage resource still be part of community solar, solar for all, or CDG agreement with NYSERDA? Even without the DRV? | There are no milestones or requirements beyond those listed in the RFP. There are no program limitations to an energy storage resource's market participation beyond those detailed in the RFP. Any prospective participant to another market offering must meet all requirements set by that program/tariff/offering.
1. We noticed that projects already on VDER which enter DLM are not eligible for DRV or LSRV. What happens after the three-year term? Can they fall back into the full-value of the VDER program they were in before the start of the DLM term? 2. Can National Grid provide more color on what happens at the end of the three year term? Should we assume $0 DLM year 4 and going forward? Will there be a negotiation or new RFP or auto-renewal? | 1) The Term-DLM program only requires this DRV opt out for the duration of the DLM contract. 2) There is no auto-renewal or negotiation at the completion of a Term or Auto-DLM contract. The participant would be eligible to submit a bid for a subsequent Term/Auto-DLM contract for the period after their initial contract ends.
1. Is it possible to change nominations once a bid is submitted? If so, what is the window in which this would be possible? Would it need to be final by April 1, 2027? 2. What is the AMI rollout status for the C&I sector in the Niagara Mohawk service territory? | 1) Capacity commitments are final at the time of contract execution. Any unmet capacity commitments according to section 4.5 of the RFP. An awardee may declare a Deficient Quantity and complete the Early Exit Fee process detailed in Section 4.5. 2) C&I AMI Rollout has not yet commenced at this time.